## Slide 1
Doeke Hekstra
March 29, 2021
Informative priors in scaling & merging

## Slide 2: Analysis: the real challenges (1)
Structure Factor Amplitudes
Structure factor changes
Jack re-analyzed my PDZ domain EF-X data:
Every step was quite reproducible except geometry refinement
This is largely a black box in Precognition.
“internal” structure factor differences (0 under EF)

## Slide 3: Analysis: the real challenges (2)
Measures the correlation between differences in structure factors which are equivalent without electric field
But, they are strongly correlated (blue) without field.
Resolution (Å)
)
}
random half 1
}
half 2
Mean intensity varies by resolution, image number, etc.,
Scaling first needs to put all reflections on the same scale. Inaccurate scaling leads to apparent signal!

## Slide 4: Analysis: the real challenges (2)
Measures the correlation between differences in structure factors which are equivalent without electric field
But, they are strongly correlated (blue) without field.
Resolution (Å)
)
}
random half 1
}
half 2
Mean intensity varies by resolution, image number, etc.,
Scaling first needs to put all reflections on the same scale. Inaccurate scaling leads to apparent signal!
Key to scaling: comparing redundant observations—a problem for EF-X.

## Slide 5
line of constant
If we have just a single accurate observation of an intensity, all points on the line are equally plausible.
Scaling uses
redundant observations
gradual change in scale factor
could use:
physical modeling
prior information

## Slide 6: Outline
Single datasets: the Wilson distribution
Careless: Bayesian variational merging
Is the Double-Wilson model realistic?
Better priors with reference data?
Time-resolved crystallography
    pairs of structure factors
    general case

## Slide 7: Outline
Single datasets: the Wilson distribution
Careless:
    a Bayesian formalism
    with variational inference
    using the Wilson distribution as a prior
Better priors with reference data?
Time-resolved crystallography
    pairs of structure factors
    general case

## Slide 8: The CLT & the Wilson distribution
Ruppweb.org
Building up a structure in real space quickly looks like a random walk in the complex plane!
As a result, the distribution of acentric structure factors looks like a bivariate normal distribution!
Real component →
Imag. component →

## Slide 9: The CLT & the Wilson distribution
Building up a structure in real space quickly looks like a random walk in the complex plane!
The distribution of the amplitude of acentric structure factors is the acentric Wilson distribution
2_Surrogate_data_example

## Slide 10: The CLT & the Wilson distribution

## Slide 11: The CLT & the Wilson distribution
Building up a structure in real space quickly looks like a random walk in the complex plane!
As a result, the distribution of centric structure factors looks like a univariate normal distribution!
2_Surrogate_data_example

## Slide 12: Normalized structure factors
In what follows, we will use normalized structure factors,
scaled such that .
This simplifies the statistical description.
2_Surrogate_data_example

## Slide 13
2_Surrogate_data_example

## Slide 14
https://github.com/Hekstra-Lab/careless
https://www.biorxiv.org/content/10.1101/2021.01.05.425510v1
Careless: machine learning to scale & merge X-ray data

## Slide 15
https://github.com/Hekstra-Lab/careless
https://www.biorxiv.org/content/10.1101/2021.01.05.425510v1
A Bayesian forward calculation of the probability of the observations
for candidate and scale factors .
We can use external knowledge as “prior probability distributions”!
Harmonic deconvolution is now conceptually trivial.
We can learn wavelength normalization given assigned per spot.
Careless: machine learning to scale & merge X-ray data

## Slide 16
Careless: machine learning to scale & merge X-ray data
A Bayesian forward calculation of the probability of the observations
for candidate and scale factors .
We can use external knowledge as “prior probability distributions”!
Harmonic deconvolution is now conceptually trivial.
We can learn wavelength normalization given assigned per spot.
https://github.com/Hekstra-Lab/careless
https://www.biorxiv.org/content/10.1101/2021.01.05.425510v1

## Slide 17
Currently, the default priors are the (a)centric Wilson distributions.
What if we already have a great dataset from a similar (or the same) crystal? Could we use that?
Careless: machine learning to scale & merge X-ray data

## Slide 18: Related structures
Ruppweb.org
Real component →
Imag. component →

## Slide 19: Related structures
Ruppweb.org
quantifies the correlation between the real components of matching structure factors (and likewise for the imaginary ones)
Real component →
Imag. component →

## Slide 20: Related structures
Ruppweb.org
quantifies the correlation between the real components of matching structure factors (and likewise for the imaginary ones)
Real component →
Imag. component →

## Slide 21: Related structures
Ruppweb.org
quantifies the correlation between the real components of matching structure factors (and likewise for the imaginary ones)
Real component →
Imag. component →

## Slide 22: Related structures
Ruppweb.org
quantifies the correlation between the real components of matching structure factors (and likewise for the imaginary ones)
98
Real component →
Imag. component →

## Slide 23: Related structures
If etc. are normally & isotropically distributed, .
98
Real component →
Imag. component →
I will call the “Double Wilson parameter”

## Slide 24: Outline
Single datasets: the Wilson distribution
Careless:
    a Bayesian formalism
    with variational inference
    using the Wilson distribution as a prior
Is the Double-Wilson model realistic?
Better priors with reference data?
Time-resolved crystallography
    pairs of structure factors
    general case

## Slide 25
The amplitudes of the centric and acentric reflections follow the Wilson distribution:
Double-Wilson model
2_Surrogate_data_example

## Slide 26
The Double-Wilson model predicts a joint distribution of the structure factor amplitudes:
Double-Wilson model
2_Surrogate_data_example

## Slide 27
What about conditional distributions?
Double-Wilson model
2_Surrogate_data_example

## Slide 28
The conditional distributions of structure factor amplitudes of one data set given the other are described by the Rice distribution (acentric) and Folded Normal (centric).
Double-Wilson model
2_Surrogate_data_example
Conditional mean, (centric & acentric)
Conditional variance,
Wilson mean
Rice mean

## Slide 29
The conditional distributions of structure factor amplitudes of one data set given the other are described by the Rice distribution (acentric) and Folded Normal (centric).
Double-Wilson model
2_Surrogate_data_example
Conditional mean, (centric & acentric)
Conditional variance,
rice.pdf( x, cond_mean/np.sqrt(cond_var), scale=np.sqrt(cond_var))
foldnorm.pdf(x, cond_mean/np.sqrt(cond_var), scale=np.sqrt(cond_var))

## Slide 30
The Double-Wilson model predicts a joint distribution of the structure factor amplitudes:
Double-Wilson model
2_Surrogate_data_example
What about the correlation coefficient between amplitudes, rather than between real or between imaginary components?

## Slide 31
The Pearson correlations between structure factor amplitudes from two correlated data sets almost equal .
Double-Wilson model
2_Surrogate_data_example

## Slide 32
But does it work?
Double-Wilson model

## Slide 33
We will first look at three PYP datasets
1OTB @ 1.1Å (RT; Anderson et al., Acta Cryst, 2004)
3PYP @ 0.85Å (cryotrapped; Genick et al., Nature, 1998)
1NWZ @ 0.82Å (cryo, dark; Getzoff et al., NSB 2003)
Double-Wilson model

## Slide 34
dataset 1: 1OTB
dataset 2: 1NWZ
Data quality
Based on Anisotropic + Fourier
For the rest of the analysis, we’ll cut the datasets to 1.2 Å.
Comparison: 1OTB v 1NWZ
3_Fitting_DW_to_paired_data

## Slide 35
This is the inferred true after correcting for measurement error.
Note that the effective produced by fitting_dw.eff_r_dw_per_hkl is lower as it includes measurement error
2_Surrogate_data_example
3_Fitting_DW_to_paired_data
Comparison: 1OTB v 1NWZ

## Slide 36
At this low , the changes in prior are already quite small!
Mean for a bin with 1,200 smallest
Wilson mean
Rice mean
middle bin of
one-but-largest bin of
Comparison: 1OTB v 1NWZ
3_Fitting_DW_to_paired_data

## Slide 37
Comparison: 3PYP v 1NWZ
Both are very nice data sets.
We’ll truncate at 1.1Å to keep measurement error very small.

## Slide 38
In this case, the priors are highly informative! (shown for )
In this case, the experimental errors dominate the correlation coefficient.
Variability in the black line suggests that expt error estimates are conservative, but not perfect.
Comparison: 3PYP v 1NWZ

## Slide 39
What about correlations between phases?
  The DW model relates complex structure factors => predicts the distribution of phase differences.
  The following is not perfect, as the PYP structures were both refined starting from the same reference.
The double-Wilson model is rotationally invariant
The phase difference, follows the Von Mises distribution.
Double-Wilson model

## Slide 40
Comparison: 3PYP v 1NWZ
Both are very nice data sets.
We’ll truncate at 1.1Å to keep measurement error very small.
Phases (Å) are strongly correlated.

## Slide 41
Phase differences are well-described by the corresponding Von Mises distribution.
(shown here for the 10 bins of largest )
Red fit for .
Comparison: 3PYP v 1NWZ
vonmises.pdf(x, E1*E2/cond_var)
3_Fitting_DW_to_paired_data

## Slide 42
 | 4KJK | 4KJJ | 4PST | 4PSS | 
4KJK | 1,0 | 0.90, 0.43 | 0.95, 0.01 | 0.88, 0.51 | 2013 RT
4KJJ |  | 1,0 | 0.88, 0.26 | 0.93, 0.16 | 2013 cryo
4PST |  |  | 1,0 | 0.89, 0.22 | 2005 RT
4PSS |  |  |  | 1,0 | 2015 cryo
4KJK, 4KJJ cut to 1.5Å
all else cut to 1.2Å
fit using
Keedy, Structure, 2013
https://www.sciencedirect.com/science/article/pii/S0969212614001403
Comparison: DHFR (RT, cryo)
Luzzati and

## Slide 43
n | Dataset pair | a | b | Res. range | Details
0 | (5KVX, 5KW3) | 0.94 | 0.79 | Cut to 1.7Å | Thaumatin (100K, 278K)
1 | (2VWR, 5E1Y) | 0.93 | 0.15 | To 1.35Å | LNX2/PDZ2 (100K, 277K)
2 | (3PYP, 1NWZ) | 1.00 | 0.00 | Cut to 1.1Å | PYP (cryotrapped lit, dark, both 100K)
3 | (1NWZ, 1OTB) | 0.39 | 0.89 | Cut to 1.2Å | PYP (100K, 295K)*
4 | (4EUL, GFP_1.37A) (4EUL, GFPPHENIX) | 0.66 0.67 | 0.00 0.4 | Cut to 1.8Å Cut to 1.6Å | GFP (100K, 277K**)
5 | DHFR | ~0.9 | 0-0.5 | Cut to 1.2Å | (see previous slide)
- | HEWL/NaI anom. | 1.00 | 0.00 | To 1.26Å | NECAT_HEWL_RT_NaI_82_XDS
*31.9 v 35.3% solvent (1NWZ/1OTB)
**RT data set looks rather crappy; second row using “Filtered” FPs from PHENIX refinement MTZ
Summary of (a, b) estimates
could look at correlation of these a and b with uc’s in Mpro dataset.

## Slide 44
In the DW model, the real and imaginary components of two data sets are both modeled as correlated random walks:
where for a 2D random walk with steps each with variance along each dimension.
Double-Wilson model—math summary!

## Slide 45
In the DW model, the real and imaginary components of two data sets are both modeled as correlated random walks:
where for a 2D random walk with steps each with variance along each dimension. governs the correlation between datasets.
Double-Wilson model—math summary!

## Slide 46
For centric reflections,
Note that the ½ disappears, because can be thought of as the sum of a random walk in the complex plane added to its own complex conjugate.
Double-Wilson model—math summary!

## Slide 47
We could arbitrarily expand this, e.g.
etc.
This is a joint distribution, we can calculate the distribution along slices that is, the distribution given the value of a variable.
Many-Wilson model

## Slide 48
We could arbitrarily expand this, e.g.
etc.
This is a joint distribution, we can calculate the distribution along slices that is, the distribution given the value of a variable.
Many-Wilson model

## Slide 49
For example,
Consider ON and OFF data sets from the same crystal, and a synchrotron reference data sets. Then one can assume:
with
(note that if the only thing relating ON and OFF is their correlation with the reference data set!)

## Slide 50
For example,
Consider ON and OFF data sets from the same crystal, and a synchrotron reference data sets. Then one can assume:
Then,
with

## Slide 51: General EF-X time series
In a general EF-X experiment, we can expect correlations over time and
between broken-symmetry mates.
One can represent that by the following conditional dependences:
Kevin would call this a Directed Acyclic Graph
(Murphy provides the mean and variance of the corresponding multivariate normal)

## Slide 52: Outline
Single datasets: the Wilson distribution
Careless:
    a Bayesian formalism
    with variational inference
    using the Wilson distribution as a prior
Is the Double-Wilson model realistic?
Better priors with reference data?
Time-resolved crystallography
    pairs of structure factors
    general case

## Slide 53
https://github.com/Hekstra-Lab/careless
https://www.biorxiv.org/content/10.1101/2021.01.05.425510v1
Careless: machine learning to scale & merge X-ray data
Careless does not optimize point estimates of , but the mean and standard deviation of a probability distribution of (given the data and the prior).
This distribution is called the variational distribution, .

## Slide 54
Careless: machine learning to scale & merge X-ray data
Careless does not optimize point estimates of , but the mean and standard deviation of a probability distribution of (given the data and the prior).
This distribution is called the variational distribution, .
The “ELBO” balances correspondence to the data with correspondence to the prior

## Slide 55
Careless: machine learning to scale & merge X-ray data
Careless does not optimize point estimates of , but the mean and standard deviation of a probability distribution of (given the data and the prior).
This distribution is called the variational distribution, .
Careless approximates expectation values over
by drawing samples from

## Slide 56
What do we need?
We need priors that
  optimally represent our prior knowledge.
  can calculate
We need variational distributions that
  resemble possible true posterior distributions
  allow for efficient drawing of samples
  can calculate
4_Making_Priors
4A_Making_Priors_Anom

## Slide 57: Using informative priors
For time-resolved crystallography data, we have two kinds of useful information
High-quality synchrotron reference data,
Knowledge that and tend to be highly correlated
Correlation among on, off
Correlation w\ reference

## Slide 58: Using informative priors in scaling & merging
For time-resolved crystallography data, we have two kinds of useful information
High-quality synchrotron reference data,
Knowledge that and tend to be highly correlated
with (etc.), , and .
This works as long as and have the same variance.
A version exists for unequal variance but is giving me issues.
6 Bivariate_conditional_amplitude_phase_dists

## Slide 59: Using informative priors in scaling & merging
For time-resolved crystallography data, we have two kinds of useful information
High-quality synchrotron reference data,
Knowledge that and tend to be highly correlated
Correlation among on, off
Correlation w\ reference

## Slide 60: What if we keep the phases around?
Two possible tracks:
Approximate the joint prior on amplitudes
Keep the phases around, the double-Wilson model (or many-Wilson) can act directly as the prior distribution—no complicated math needed.
It seems very challenging to extend this Rice distribution framework to larger cases like this one:

## Slide 61: Plan summary so far…
For inference of one or two structure factors, we can use Rice (and Folded Normal) distribution priors and variational distributions.
For >2 structure factors, we can use the many-Wilson model as a prior, if we do inference directly on complex structure factors.
  (or use multivariate approximate priors fit to the full prior)
In that case, what are good variational distributions?

## Slide 62: Variational distributions (with phases)
Why is that appealing?
1. We can implement the Coppens model:
(that is, , and, possibly, a global B factor)
2. With a posterior distribution on the complex , we have, in principle, a rigorous way to
a. calculate difference maps
b. refine excited states.
3. Indeed, we could switch to directly refining atomic coordinates against the data! (if we had a good way to navigate conformational space!)
Fournier and Coppens, Acta Cryst. A70: 514-517 (2014)

## Slide 63: Variational distributions (with phases)
We do obtain some information on the phases of and from measurement of and , but much less than about amplitudes.
The multivariate normal is a poor variational distribution for .
For example, in the limit of poor phase information and excellent amplitude information, the true posterior distribution is a ring!
Naïve approach:
initialize from Careless + Wilson
initialize from prior

## Slide 64: Variational distributions for phases
For phasing of single structures, the Hendrickson-Lattman distribution is in common use.
This approach extends the Von Mises distribution:
https://scripts.iucr.org/cgi-bin/paper?s0567740870002078
SKIP!

## Slide 65: Variational distributions for phases
There’s a distinct literature on bivariate extensions of the Von Mises distribution.
SKIP!

## Slide 66: Variational distributions for phases
Sine Bivariate Von Mises (Sine BVM)
Cosine Bivariate Von Mises (Cos (+) BVM)
6 Bivariate_conditional_amplitude_phase_dists
SKIP!

## Slide 67: Variational distributions for phases
Cosine Bivariate Von Mises (Cos (+) BVM)
Evaluations of both distributions are fast.
Somehow, I can’t get the Cos(+) BVM to integrate to 1.
6 Bivariate_conditional_amplitude_phase_dists
SKIP!

## Slide 68: Variational distributions for phases
Evaluations of both distributions are fast.
Somehow, I can’t get the Cos(+) BVM to integrate to 1.
A bivariate normal folded onto the toroid seems to do just as well and is more intuitive
6 Bivariate_conditional_amplitude_phase_dists
SKIP!

## Slide 69: Variational distributions for phases
Evaluations of both distributions are fast.
Somehow, I can’t get the Cos(+) BVM to integrate to 1.
A bivariate normal folded onto the toroid seems to do just as well and is more intuitive
Comparison to Von Mises
As long as (40 degrees), the correspondence is very good. The correspondence is again good at large .
6 Bivariate_conditional_amplitude_phase_dists
SKIP!

## Slide 70: Variational distributions for phases
Torus-folded Student t
bivariate torus-folded normal
6 Bivariate_conditional_amplitude_phase_dists

## Slide 71: Summary (1)
It appears that two cases are readily implemented:
a single or a pair with correlation and conditioning on a common reference structure .
the general multivariate case, keeping track of phases.

## Slide 72: Summary (2): a robust strategy
If our priors are too tight, we push true differences into the scale estimates and suppress our signal (pushing signal into the scale function)
If our priors are too loose, we converge to the current situation, using independent Wilson priors for each structure factor. (i.e. pushing noise into the structure factors)

## Slide 74
Parametrizing priors
Ultimately, we do not know a priori the correlation between a reference data set and a target data set which is to be scaled and merged.
To parametrize priors, we need to know:
  The normalized structure factor amplitudes of the reference
  Initial or calculated per structure factor using eff_r_dw_per_hkl (in fitting_dw.py)
5_Parsing_DW_parameters summarizes how to formulate priors based on the provided and .
4_Making_Priors
4A_Making_Priors_Anom
5_Parsing_DW_parameters

## Slide 75: Implementation details
Initialization as discussed
  switches functional form for the phases: parametrize variational distribution up-front by sampling from the prior.
Centric cases: provide expressions
If we do a “multivariate amplitudes-only” approach, I think we should use a multivariate folded normal as the prior for simplicity.
  We can parametrize that too upfront using samples from the multivariate normal model for complex structure factors.
Parametrization of the Rice and Folded Normal distributions

## Slide 76: Normalizing structure factors
Three steps
Fit , using the Wilson distributions as the loss function, with and short for .
Fit , with and short for , and the same loss function for increasing . Pick best Fourier order by cross-validation.
Perform -nearest neighbor regression on the . Obtains as the local estimate of . Then .
1_Dataset_prep_and_local_scaling

## Slide 77
After simple anisotropic scaling of 1OTB:
After anisotropic scaling with Fourier corrections of 1OTB:
Example: normalizing 1OTB

## Slide 78
After anisotropic scaling with Fourier corrections of 1OTB:
Example: normalizing 1OTB
Naïve structure factor amplitudes:

## Slide 79
After anisotropic scaling with Fourier corrections of 1NWZ:
Example: normalizing 1NWZ

## Slide 80
This dataset (here for n = 4) did not scale very well. k-NN may be more appropriate.
Perhaps reflects truncation approach…
A troublemaker: GFP@RT

## Slide 81
# For simplicity...
ds1 = ds1[(ds1["I(+)"]>=0) & (ds1["I(-)"]>=0)]
Normalizing HEWL anomalous
1A_Anom_dataset_prep_and_scaling

## Slide 82
+
+
−
−
Normalizing HEWL anomalous
NECAT_HEWL_RT_NaI_82_XDS

## Slide 83
Normalizing HEWL anomalous
1A_Anom_dataset_prep_and_scaling

## Slide 84: Aim: Using informative priors in scaling & merging
For time-resolved crystallography data, we have two kinds of useful information
High-quality synchrotron reference data,
Knowledge that and tend to be highly correlated
For complex structure factors, these correlations are easily expressed as extensions of the Wilson model. For example,
If ON and OFF are only correlated due to mutual correlation with the reference, . Otherwise, .

## Slide 85: Aim: Using informative priors in scaling & merging
For time-resolved crystallography data, we have two kinds of useful information
High-quality synchrotron reference data,
Knowledge that and tend to be highly correlated
For complex structure factors, all of these correlations are easily expressed as extensions of the Wilson model. For example,
, etc.
https://en.wikipedia.org/wiki/Multivariate_normal_distribution#Conditional_distributions

## Slide 86: Aim: Using informative priors in scaling & merging
For time-resolved crystallography data, we have two kinds of useful information
High-quality synchrotron reference data,
Knowledge that and tend to be highly correlated (the same will apply to now-broken symmetry mates).
Correlation among on, off
Correlation w\ reference

## Slide 87: Aim: Using informative priors in scaling & merging
* https://www.researchgate.net/publication/220557408
For now:
Normalization for better
Suitability of the Rice and Folded-Normal distributions
Pending
Use of the distribution (implemented*, but don’t know how to pick parameters).
Acentric
tbd
(done!)
  (unfinished)

## Slide 88: Aim: Using informative priors in scaling & merging
One more super-interesting prior: the multivariate normal on the full structure factors .
Conditioning on breaks the phase degeneracy, so all phases are relative to the phase of . Without loss of generality, we can set that one to 0 for now.
We can let and .
Two approaches:
Calculate the posterior analytically per :
if I’m not mistaken, the integral in the denominator is analytically tractable when is a multivariate Student t.
https://en.wikipedia.org/wiki/Gaussian_integral#n-dimensional_and_functional_generalization